## SSB
Energy use by type of building and type of heating used in the central heating system. kWh/m2 | Energy use by type of building and type of heating used in the central heating system. kWh/m2 | Energy use by type of building and type of heating used in the central heating system. kWh/m2 | Energy use by type of building and type of heating used in the central heating system. kWh/m2 | Energy use by type of building and type of heating used in the central heating system. kWh/m2 | Energy use by type of building and type of heating used in the central heating system. kWh/m2 | Energy use by type of building and type of heating used in the central heating system. kWh/m2 | Energy use by type of building and type of heating used in the central heating system. kWh/m2
| 2011 | 2011 | 2011 | 2011 | 2011 | 2011 | 2011
| Buildings without central heating system | Buildings with central heating system | Buildings with central heating system | Buildings with central heating system | Buildings with central heating system | Buildings with central heating system | Buildings with central heating system
| Total | Total | District heating | Electric boiler | Oil boiler | Heat pump | Other
| kWh/m2 | kWh/m2 | Per cent1 | Per cent1 | Per cent1 | Per cent1 | Per cent1
Total | 200 | 240 | 40.4 | 47.4 | 26.1 | 14.7 | 1.3
3 Office and business building | 225 | 228 | 47.1 | 35.8 | 22.6 | 15.6 | 2.9
31 Office building | 240 | 223 | 54.3 | 34.8 | 18.5 | 13.6 | 2.6
32 Business building | 203 | 237 | 32.6 | 37.5 | 29.3 | 19 | 3.3
5 Hotel and restaurant building | 204 | 253 | 48.6 | 42.5 | 27.4 | 20.5 | 0
51 Hotel building | 197 | 251 | 46.3 | 41.8 | 29.9 | 20.9 | 0
53 Restaurant building | 264 | 300 | 66.7 | 50 | 0 | 16.7 | 0
6 Building used for education, public entertainment and religious ativities | 161 | 203 | 34.8 | 54.8 | 26.4 | 12.7 | 0.4
61 School building | 156 | 168 | 24.5 | 63.6 | 30.7 | 10.2 | 0
62 University and research building | 218 | 234 | 74 | 20.8 | 20.8 | 16.9 | 0
64 Museum and library building | 164 | 250 | 20 | 80 | 20 | 20 | 0
65 Sports building | 170 | 264 | 36.2 | 50 | 22.4 | 17.2 | 3.4
66 Public entertainment building | 143 | 292 | 77.3 | 36.4 | 4.5 | 13.6 | 0
67 Building used for religious activities | 158 | 144 | 15.8 | 42.1 | 5.3 | 26.3 | 0
7 Hospital and institutional care building | 222 | 332 | 37.6 | 57.1 | 33 | 15.2 | 0.5
71 Hospital | 320 | 379 | 60 | 44 | 28 | 8 | 0
72 Nursing home | 215 | 268 | 29.2 | 63.3 | 33.3 | 17.5 | 0.8
73 Primary health building | 200 | 279 | 28.6 | 52.4 | 42.9 | 19 | 0
8 Prison, building for emergency preparedness etc. | 197 | 212 | 25 | 55.6 | 44.4 | 22.2 | 0
82 Building for emergency preparedness | 197 | 212 | 22.2 | 55.6 | 44.4 | 22.2 | 0
1The percentages do not sum up to 100 because some buildings use several energy sources in the central heating system. | 1The percentages do not sum up to 100 because some buildings use several energy sources in the central heating system. | 1The percentages do not sum up to 100 because some buildings use several energy sources in the central heating system. | 1The percentages do not sum up to 100 because some buildings use several energy sources in the central heating system. | 1The percentages do not sum up to 100 because some buildings use several energy sources in the central heating system. | 1The percentages do not sum up to 100 because some buildings use several energy sources in the central heating system. | 1The percentages do not sum up to 100 because some buildings use several energy sources in the central heating system. | 1The percentages do not sum up to 100 because some buildings use several energy sources in the central heating system.
Source: Statistics Norway